

[image: image1.emf]
Display Subsystem Power Measurement

Recommendations

September 26, 2008
Draft of Revision 2.0
The document and information contained herein is not a license, either expressly or impliedly, to any intellectual property owned or controlled by any of the authors or developers of this publication. The information contained herein is provided on an “AS IS” basis, and to the maximum extent permitted by applicable law, the authors and developers of this document hereby disclaim all other warranties and conditions, either express, implied or statutory, including but not limited to, any (if any) implied warranties, duties or conditions of merchantability, of fitness for a particular purpose, of accuracy or completeness of responses, of results, of workmanlike effort, of lack of viruses, of lack of negligence. ALSO THERE IS NO WARRANTY OR CONDITION OF TITLE, QUIET ENJOYMENT, QUIET POSSESSION, AND CORRESPONDENCE TO DESCRIPTION OR NON-INFRINGEMENT.

*Other names and brands may be claimed as the property of others.
Copyright © 2008 by Mobile PC Extended Battery Life Working Group. All rights reserved.
Revision History

	Revision
	Date Changes Made
	Comments

	0.3
	07/03/2003
	Release to EBLWG

	0.4
	07/23/2003
	Revised per EBLWG Feedback

	1.0
	09/08/2003
	Revised for general release

	Version 2 Draft      
	09/26/2008
	Revised for EBLWG Feedback

· Removed specific hardware requirements

· Edited specific references to CCFL inverters to allow for White LED backlit panels

· Created specific measurement configuration for both CCFL and WLED panels 

· Chart logic power consumption per typical resolutions

· Identified VDD and INV_SRC as power rails to measure.
· Updated EBL checkerboard pattern

	
	
	

	
	
	

	
	
	


Contents

2Revision History


3Contents


5Objective


5Introduction


6LCD Display Module Anatomy


8Equipment


9Measurement Environment


9Electrical Environment


11Physical Environment


12Panel Measurement Configurations


12Measuring WLED Panel Power Consumption


13Measuring CCFL Panel Power Consumption


14Power Consumption Report


14Warm-up period


14Backlight Level


15Temperature


15Pixels


15TFT Data


15Backlight Data


16Total EBL Power


16Light Measuring Technique


17EBL Flowchart


17Black on White Checkerboard at 60 nits


17Black on White Checkerboard at maximum brightness


17Full White pattern at maximum brightness


18Full Red pattern at maximum brightness


18Full Blue pattern at maximum brightness


18Full Green pattern at maximum brightness


19Full Black pattern at maximum brightness


19Reference Documents


19Definitions


20Appendix A – Alternative to DMM tool


21Appendix B – Configuration using CRB


21Appendix C – Configuration to compute CCFL inverter efficiencies




Display Subsystem Power Measurement Recommendations
Objective

This document is intended to define a standard method of measuring power consumed in a portable computer by the LCD display module.  Use of the process defined within this document will reduce variables in the power consumption process to aid in side by side comparisons of LCD modules from one or more LCD suppliers.

This document is not meant to replace system level power consumption processes and techniques.  The EBL power measurement process is a component characterization tool only.  

Introduction

The display subsystem constitutes a significant portion of the overall, average power consumed by a portable computer. Among the various components and subsystems within a portable computer, the display subsystem is a large consumer of power. As new display technologies develop with a particular focus on reducing display power consumption, it becomes absolutely imperative that, at a minimum, the display subsystem continues to consume less and less power and keep pace with the downtrend in overall platform power consumption.

Graph shows typical relationship of LCD panel power measured using the MobileMark* benchmark  vs. rest of system.


[image: image2.emf]Total Average Platform and Display     

             Subsystem Power Consumptions

LCD Display



Rest of system


The total display subsystem power consumption includes power consumed by the display panel electronics, as well as the display panel backlight system.

The Mobile PC Extended Battery Life Work Group (EBL WG), http://www.eblwg.org is an industry-wide group of companies working together to extend the battery life of portable computers. The EBL WG has developed these display subsystem measurement recommendations to enable uniform and consistent display subsystem power measurement across the portable computer LCD industry.
These recommendations cover how to measure the panel electronics power, backlight, as well as measurement of screen luminance. Appropriate color patterns, ambient room conditions, and a suggested list of equipment are provided. This paper contains two subsequent sections. The first is an overview and should be understood by a general technical audience. The second is the detailed setup and may require some familiarity with computer and software setup and configuration.
LCD Display Module Anatomy
LCD panel module comprises of two parts the LCD cell most often comprising of two major components:

1. LCD Cell - Liquid crystal material sandwiched by TFT (thin film transistor) array and a color filter.  
2. Backlight control system – LED drivers of WLED or Inverter for CCFL panel.
The LCD Cell includes all the circuitry that produces images on the notebook computer’s screen.  Each pixel is made up of one red, one green, and one blue sub pixel.  Images are produced by painting pixels with differing levels of red, green, and blue light.  

Backlight illuminates the pixels from behind the LCD Cell.  Light is channeled from a light source such as a strip of LEDs (light emitting diodes) or a CCFL (cold cathode florescent) bulb 

LCD modules come in four general styles, one for CCFL panels and three for panels with White LED backlights.  It is important to identify style of panel so that proper safety and measurement techniques are employed.  

Note: Panels with CCFL backlights drive high voltage (600 – 2000v) from inverter to CCFL bulb.  Great care must be taken to avoid contact with high voltage components. 

The LCD Module consists of an LCD cell with attached backlight system.  There of four common styles:

1. VESA CCFL panel with CCFL backlight system that is driven by an inverter.  An industry standard for many years.

2. “VESA” style LED.  A panel with LED backlight system designed too industry standard VESA form factor.  “VESA” style is intended to be a drop in replacement for “VESA” CCFL panels.
3. LED panel with control circuitry PCB that is attached to the bottom of LCD cell.  Design very common thin notebooks.
4. LED panel with control circuitry is mounted at bottom of LCD cell.

[image: image3]
Four most common LCD panel module styles.
Note: Power consumption measurements are taken at the input side of LED driver.   It is important to know if backlight power (BL+) is on module or on notebook system.  Panel modules with LED backlight systems may or may not have integrated LED drivers.  Please consult manufacturer’s specifications to determine if panel has integrated LED drivers.  

Equipment 

As with all lab measurements, the quality of the equipment used will directly correlate to the quality and repeatability of measurements.  The equipment listed here is for reference only, each test administrator is free to pick and choose tools to meet their business needs.  

	Tool
	Purpose
	Contact Information

	Photometer
	Tool used to measure luminance.

Note: Colorimeters, tools that measure color, often used to calibrate display colors, are not recommended for measuring light.  For most accurate results the use of a photometer is highly recommended.
	Photo research PR-880  www.photoresearch.com
Topcon BM5A

www.hoffmanengineering.com
Minolta LS-100

www.konicaminolta.com 


	Pattern Generator
	Tool used operate LCD display

Note: Portable computers are good pattern generators.
	Westar T-drive

www.westardisplaytechnologies.com
Quantum Data 

http://www.quantumdata.com
Astrodesign (http://www.astrodesign.co.jp/english/index.asp)


	Power meter
	Tool used to measure voltage and current

Note: Good lab grade DMMs are prefered.
	Fluke 8845A

http://us.fluke.com
Agilent 33405A

www.home.agilent.com


	Thermometer/Barometer
	Tools used to measure temperature and humidity
	Local hardware store

	Stopwatch
	Tool used to measure time
	Local sporting goods store


Measurement Environment
Electrical Environment

The panel electronics power is strongly influenced by four key variables:

· Screen Refresh Rate
· Resolution (number of pixels)

· Image (pattern) that is displayed on the screen
· Luminance (brightness)

Screen refresh rate, how often each row of pixels is refreshed is the largest power consumption variable in the display.  120hz refresh consumes more power than 60hz refresh, and 60hz refresh consumes more power than 40hz, etc.  

It is permissible and appropriate to use the EBL process to measure panels at refresh rates other than 60Hz.  Power measurements should be made at 60Hz refresh rates as a baseline and disclosed for non-standard refresh rates.  

For example if you wanted to compare panels running at 40Hz against panels running at EBL “standard” 60Hz it is suggested that the following format be used:

EBL = 3.04mA 

EBL40Hz = 2.50mA

The screen resolution (WXGA, WXGA+, WUXGA, …), is a large factor in the power consumption equation.  Each pixel is made up of three RGB sub-pixels.  Each red, green, and blue sub-pixel requires three or more transistors to function.  The higher the resolution, the higher the power consumption, WUXGA consumes more power than WXGA+, and WXGA+ consumes more power than WXGA.  Power measurements should be made at the native resolution the panel, ie. Don’t measure WUXGA panels scaled down the WXGA resolutions.


[image: image4.emf]0

1

2

3

4

1280x800 1440x900 1680x1050 1920x1200

Logic (watts)


Typical panel logic power consumption WXGA, WXGA+, WSXGA+, and WUXGA

The image displayed on the screen impacts power consumed.  Static single color images consume less power than driving video to the screen.    To standardize the patterns used,  EBL requires that a black on white checkerboard pattern be used for EBL measurements.    The checkerboard pattern must completely fill the LCD screen, no black bars or boarders are permitted anywhere on display under test.  Checkerboard bitmaps can be downloaded from the EBL website at http://www.eblwg.org.
[image: image5.jpg]



Example of a panel displaying  black on white checkerboard pattern

Luminance of panel, how bright is the image on the front of the screen appears.  Luminance is strongly influenced by the panel backlight (illumination source).  A portable computer display typically includes an inverter and a cold cathode fluorescent lamp (CCFL) or strip(s) of light emitting diodes (LED). The backlight power is strongly influenced by lamp luminance. The total panel power equals the sum of the panel electronics plus the panel backlight power at a particular pattern and luminance setting.
Note: Power management, variable refresh rates, and other techniques used to extend battery life should not be used in EBL power measurements. 
Physical Environment

Environmental factors such as ambient light or room temperature have a great influence on accuracy and repeatability of panel luminance measurements.

For example ± 5º variation in room temperature can result in a large variation in panel measurements.

To minimize environmental impact on measurements, the following conditions must be enforced on all panel measurements:

	Ambient light
	≤ 1 lux

	Temperature
	20º C ± 5º @ 25% - 85% Relative Humidity

	DUT warm-up time
	VESA 305-3 or ≥ 30 minutes.

	Viewing direction
	Perpendicular to panel ± 0.2º

	Measurement distance
	Any distance from light measurement device (photometer) that will ensure that ≥ 500 pixels are captured.

Examples of known good measurement distances:

· 50cm with 2º aperture measurement device

· 100cm with 1º aperture measurement device


[image: image6.png][«— LCD Panel

Aperture = 2°

[ 50cm ’{

Photometer





Example of typical light measurement device (photometer) and a display under test.
Panel Measurement Configurations

Measuring WLED Panel Power Consumption


[image: image7]
Example of typical test configuration for power consumption measurements on an LED panel.
On a WLED backlit panel Power is consumed by both data and by the backlight system.  Both systems must be measured individually.   
Data is driven from system typically at 3.3v ±10%.  
Backlight system is typically driven directly from battery.  Batteries can contain 3 or more individual cells resulting in many different voltage levels options.  In addition to voltage level variations caused number of cells, battery packs output a steadily decreasing level of power minute to minute due to the state of charge contained in the cells.  Two eliminate measurement variations 12V was chosen to be backlight standard input power.  12vdc power supplies are inexpensive and readily available.
Note:  On many system designs the LED Backlight controller is powered by a 5v power source that is always present when the system is powered on.  If your system supports 5v always operation of the LED controller be sure to measure 5v always input to LED controller and add it to Backlight Power.

Measuring CCFL Panel Power Consumption


[image: image8]
Example of typical test configuration for power consumption measurements on CCFL panel.
On a CCFL backlit panel Power is consumed by both the cell (data bus) and by the backlight system.  Both systems must be measured individually.   The inverter that drives the CCFL bulb is a high voltage component, the CCFL bulb strikes (starts) at 1400 - 2000v and quickly settles to 600-800v.  Great care must be taken when working with the inverter, as it is dangerous to both the equipment used to measure and the technician performing the test.  Power consumption measurements on the inverter are taken on the low volt input to the inverter.

Note: EBL report does not factor in losses for inverter efficiencies.   The Extended Battery Life report focuses only on total impact to battery life.  More information on how to measure CCFL inverter efficiency can be found in Appendix C.
Power Consumption Report 

Chart 1 – Actual power consumption data generated using EBL test method. 
	Warm-up

(min.)
	Backlight Level
	Temp
(°C)
	PIXELS
	Data  Input Power
	Backlight Input Power
	Total

	
	
	
	RED
	GREEN
	BLUE
	V
	I (mA)
	P (W)
	V
	I (mA)
	P (W)
	P (W)

	10
	60 cd/m^2
	22.7
	Checkerboard
	3.29
	268.4
	0.88
	11.99
	19.5
	0.23
	1.12

	10
	100%
	22.7
	Checkerboard
	3.29
	268.4
	0.88
	12.00
	195.2
	2.34
	3.23

	0
	100%
	22.7
	100%
	100%
	100%
	3.29
	234.2
	0.77
	11.99
	195.2
	2.34
	3.11

	0
	100%
	22.7
	100%
	0%
	0%
	3.29
	287.9
	0.95
	11.98
	195.2
	2.34
	3.29

	0
	100%
	22.7
	0%
	100%
	0%
	3.28
	287.9
	0.94
	11.98
	195.2
	2.34
	3.28

	0
	100%
	22.7
	0%
	0%
	100%
	3.29
	287.9
	0.95
	11.99
	195.2
	2.34
	3.29

	0
	100%
	22.7
	0%
	0%
	0%
	3.29
	297.6
	0.98
	11.99
	195.2
	2.34
	3.32


The EBL report consists seven important data points:

Warm-up period – Panels consume different levels of power at different points of operation.  Due to physical properties of CCFL bulbs full luminance is not reached for as much at 30 minutes after power is applied.   To ensure the most consistent panel to panel measurements it is recommend that VESA FDPM 305-3 Warm-up Time procedure be followed.  The VESA procedure defines a properly warmed panel as “Measure the time required to reach stable luminance output assessed by luminance instability of ±5 % per hour of operation or less”.  

Note: If the complexity of VESA 305-3 Warm-up period is undesirable a minimum 30 minute warm up period can be substituted for 60nit BLK on WHT Checkerboard and again at 100% backlight with BLK on WHT Checkerboard pattern.  WLED panels require much less warm-up time vs. CCFL panels.  In the example above only 10 minutes was required to achieve level power consumption using the VESA 305-3 Warm-up Time procedure.

Backlight Level – Luminance on the front of screen, what the customer sees, is dependent on the amount of light generated by the backlight.  EBL requires only two levels of backlight:

1. A level that generates enough luminance to measure 60 cd/m^2 on the front of disply
2. A level that produces maximum light capable by the backlight system

Temperature - As describe in the Environmental section of EBL, the ambient temperature in the room has great effect on the power consumed by the panel.  A rule of thumb to remember is that “The cooler the room temp, the dimmer the panel.  The warmer the room temp, the brighter the panel”.  To produce the most repeatable measurements possible, the ambient temperature must be within the EBL recommended 20º C ± 5º.

Pixels – As described in Electrical Environment section of EBL, the pattern generated on screen effect power consumed for the panel.  EBL uses six patterns.  Each pattern provides different information:

1. Black on White Checkerboard pattern – simulates average power consumption.

2. White pattern all Red, Blue, Green turned “on” transmitting 100% backlight

3. Red pattern 100% Red pixels turned “on” and Blue and Green pixels turned “off”

4. Blue pattern  100% Blue pixels turned “on” and Red and Green pixels turned “off”

5. Green pattern 100% Green pixels turned “on” and Red and Blue pixels turned “off”

6. Black pattern is all RED, Blue, and Green pixels in an “off” state.

Each pattern provides information used by systems designers.  For example if White pattern has better power consumption performance, system designers may design user interface with more white.

TFT Data – Power consumed to generate panel data is computed as: 

Data Power (VDD) = Data Input Voltage x Data Input Current

Note that Data Voltage (VDD) is typically 3.3V or 5V.  However it could be more or less based on technology used in LCD panel.  Please consult LCD specification for display under test.
Backlight Data – Power consumed to generate light in the panel (back light) is computed as:

LED Backlight Power = Backlight Input Voltage (VBL+) x Backlight Input Current
or

CCFL Backlight Power = Backlight Input Voltage (INV_SRC) x Backlight Input Current

Note that Backlight Voltage is typically 12V.  However it could be more or less based on technology used in LCD panel.  Please consult LCD specification for display under test.  For EBL procedure Backlight Voltage is assumed to be 12V, if other voltage used make note in EBL Report.

Total EBL Power 

Total EBL power is computed:

Total EBL Power = Data Power + Backlight Power

Light Measuring Technique

The typical LCD panel largely varies in luminance point to point on the screen.  Because of this fact it is a good practice to take five measurements on the center of the screen and compute the average.  EBL uses a variation of the industry standard ISO 13406-2 Ergonomic requirements for work with visual displays based on flat panels.  EBL uses the five center points 33, 37, 55, 73, and 77 to compute average luminance of the panel.

Luminance = 
[image: image9.wmf]5

int

)

77

73

55

37

33

(

s

po

+

+

+

+


[image: image10.png]



LCD Panel measurement template, 5 locations highlighted with yellow stars are used for EBL measurements.
EBL Flowchart

Black on White Checkerboard at 60 nits



Note: No additional warm-up period required if panel has already reach full operational temperature
Black on White Checkerboard at maximum brightness



Note: No additional warm-up period required if panel has already reach full operational temperature
Full White pattern at maximum brightness



Note: No additional warm-up period required if panel has already reach full operational temperature
Full Red pattern at maximum brightness



Note: No additional warm-up period required if panel has already reach full operational temperature
Full Blue pattern at maximum brightness



Note: No additional warm-up period required if panel has already reach full operational temperature
Full Green pattern at maximum brightness



Note: No additional warm-up period required if panel has already reach full operational temperature
Full Black pattern at maximum brightness



Note: No additional warm-up period required if panel has already reach full operational temperature
Reference Documents

VESA FPDM version 2.0  - Flat Panel Display Measurement guide (www.vesa.org)

EBL - Mobile PC Extended Battery Life Procedure (http://www.eblwg.org/pubdocs.asp)

http://en.wikipedia.org
Definitions

Ambient Light – The light the surrounds the DUT http://en.wikipedia.org/wiki/Ambient_light
DUT – display under test

Viewing direction – Extent that panel can be tilted or turned away from viewer http://en.wikipedia.org/wiki/Viewing_angle
[image: image11.png]



Viewing cone – Extent that panel can be tilted or turned away from viewer while retaining acceptable performance http://en.wikipedia.org/wiki/Viewing_cone
Lux – Common unit of intensity light http://en.wikipedia.org/wiki/Lux
Appendix A – Alternative to DMM tool

The measurement configurations in this document use a graphic image to represent DC current meter, however DC current meters are not the only current measuring device that can be employed. Oscilloscopes, data recorders, and volt meters can also be used.  Current can be computed as a voltage drop across a sense resistor. 
To measure current Ohm’s Law was applied to the sense resistor example as follows:

Power = V2/R
where:

V = voltage drop from Vsource – Vload
R = resistance .002Kv ohm

[image: image12.emf]R

.002 ohm

 0.0 

DC 

volts

V

LOAD

V

SOURCE

Pattern 

Generator

LCD Panel


Note:  Meter in example is a generic image not intended to specify any brand or model.

Appendix B – Configuration using CRB

For a complete description of using Intel CRB to make EBL power measurements the Mobile PC Display Power Measurement Recommendations v1.0 can be downloaded from EBL website 
(http://www.eblwg.org/pubdocs.asp).

Appendix C – Configuration to compute CCFL inverter efficiencies


[image: image13]
Total Back Light power consumption (AT) = 12v / AT
Inverter Efficiency = (AH + AL) / (AT)
Note: Panels with CCFL backlights drive high voltage (600 – 2000v) from inverter to CCFL bulb.  Great care must be taken to avoid contact with high voltage components. 

VESA CCFL





“VESA” STYLE LED





BOTTOM BENT LED





FLAT TYPE LED





DC Current Meter





Backlight Power 12v





System Power





LED Light strip(s)





Row Driver





Column Driver








Liquid Crystal Display





Logic Controller





LED Backlight Controller





LED Driver





DC Current Meters





Backlight Power 12v





System Power





Cold Cathode Florescent Lamp





Row Driver





Column Driver








Liquid Crystal Display





Logic Controller





DC Current Meters





Inverter





Backlight Power 12v





AT





Cold Cathode Florescent Lamp





AL





AH





HV





LV





Inverter





DC Current Meters





LCD Panel

















Display checker pattern





Set panel to 60 nits








Warm panel VESA 303-5 or 30 min *








Warm panel VESA 303-5 or 30 min *








Record results





Display checker pattern





Warm panel VESA 303-5 or 30 min *








Set panel to full brightness








Record results





Record results





Set panel to full brightness








Display full white pattern





Record results





Warm panel VESA 303-5 or 30 min *








Set panel to full brightness








Display full red pattern





Record results





Warm panel VESA 303-5 or 30 min *








Set panel to full brightness








Display full blue pattern





Record results





Warm panel VESA 303-5 or 30 min *








Set panel to full brightness








Display full green pattern





Record results





Warm panel VESA 303-5 or 30 min *








Set panel to full brightness








Display full black pattern








EBL Display Subsystem Power Measurement Recommendations, version 2.0
Page 2

_1283326057.xls
Chart1

		LCD Display

		Rest of system



Figure 1: Total Average Platform and Display Subsystem Power Consumptions

Total Average Platform and Display     
             Subsystem Power Consumptions

LCD Display

Rest of system

20

80



Sheet1

				Figure 1: Total Average Platform and Display Subsystem Power Consumptions

		LCD Display		20

		Rest of system		80

				To resize chart data range, drag lower right corner of range.






_1283326210

_1283582840.vsd
R
.002 ohm



_1283258803.unknown

