## Crosstalk (hidden)
CROSSTALK
|  |  |  | Display Manufacturer: |  | Active Area (Wmm x Hmm): |  | Resolution (W x H): |  | Col Depth: | Pxl Clk (MHz): | FOS Technology: |  |  | Test System: |  | Signal Source: |  | Warmup Time (mins): | Test Owner: |  |  | Report Rev:
2008.06.03
|  |  |  | Serial Number: |  |  |  |  | Mfgr's Part Number: |  |  | Inverter Manufacturer: |  |  | Instr #1: | Instr #2: |  | Instr #3: | Working Distance (cm) | Owner Email:
Dell LCD Optical Characterization Report Appendix A1
|  |  |  | Test Date: |  |  |  |  | Mfgr's EDID Rev: |  |  | Inverter Model & Revision: |  |  | Instr #1 Cal Date: | Instr #2 Cal Date: |  | Instr #3 Cal Date: | Ambient Light (Lux): | Temp (°C): |  | Humidity (%):
|  |  | TOP |  |  | BOTTOM |  |  | LEFT |  |  | RIGHT
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| L cd / m^2 | Gray
White on Gray
Black on Gray
| Crosstalk W on G |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Crosstalk B on G |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Max
| Max |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## WhiteViewingCone (hidden)
WHITE VIEWING CONE
[5 empty] | Display Manufacturer: |  | Active Area (Wmm x Hmm): |  | Resolution (W x H): |  | Col Depth: | Pxl Clk (MHz): | FOS Technology: |  |  | Test System: |  |  | Signal Source: |  | Warmup Time (mins): | Test Owner: |  |  | Report Rev:
2008.06.03
[5 empty] | Serial Number: |  |  |  |  | Mfgr's Part Number: |  |  | Inverter Manufacturer: |  |  | Instr #1: |  | Instr #2: |  | Instr #3: | Working Distance (cm) | Owner Email:
Dell LCD Optical Characterization Report Appendix A1
[5 empty] | Test Date: |  |  |  |  | Mfgr's EDID Rev: |  |  | Inverter Model & Revision: |  |  | Instr #1 Cal Date: |  | Instr #2 Cal Date: |  | Instr #3 Cal Date: | Ambient Light (Lux): | Temp (°C): |  | Humidity (%):
WHITE
|  |  | -80 | -70 | -60 | -50 | -40 | -30 | -20 | -10 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80
-80
-70
-60
-50
-40
-30
-20
-10
0
10
20
30
40
50
60
70
80

## BlackViewingCone (hidden)
BLACK VIEWING CONE
[5 empty] | Display Manufacturer: |  | Active Area (Wmm x Hmm): |  | Resolution (W x H): |  | Col Depth: | Pxl Clk (MHz): | FOS Technology: |  |  | Test System: |  |  | Signal Source: |  | Warmup Time (mins): | Test Owner: |  |  | Report Rev:
2008.06.03
[5 empty] | Serial Number: |  |  |  |  | Mfgr's Part Number: |  |  | Inverter Manufacturer: |  |  | Instr #1: |  | Instr #2: |  | Instr #3: | Working Distance (cm) | Owner Email:
Dell LCD Optical Characterization Report Appendix A1
[5 empty] | Test Date: |  |  |  |  | Mfgr's EDID Rev: |  |  | Inverter Model & Revision: |  |  | Instr #1 Cal Date: |  | Instr #2 Cal Date: |  | Instr #3 Cal Date: | Ambient Light (Lux): | Temp (°C): |  | Humidity (%):
BLACK
|  |  | -80 | -70 | -60 | -50 | -40 | -30 | -20 | -10 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80
-80
-70
-60
-50
-40
-30
-20
-10
0
10
20
30
40
50
60
70
80

## CRViewingCone (hidden)
CONTRAST VIEWING CONE
[5 empty] | Display Manufacturer: |  | Active Area (Wmm x Hmm): |  | Resolution (W x H): |  | Col Depth: | Pxl Clk (MHz): | FOS Technology: |  |  | Test System: |  |  | Signal Source: |  | Warmup Time (mins): | Test Owner: |  |  | Report Rev:
2008.06.03
[5 empty] | Serial Number: |  |  |  |  | Mfgr's Part Number: |  |  | Inverter Manufacturer: |  |  | Instr #1: |  | Instr #2: |  | Instr #3: | Working Distance (cm) | Owner Email:
Dell LCD Optical Characterization Report Appendix A1
[5 empty] | Test Date: |  |  |  |  | Mfgr's EDID Rev: |  |  | Inverter Model & Revision: |  |  | Instr #1 Cal Date: |  | Instr #2 Cal Date: |  | Instr #3 Cal Date: | Ambient Light (Lux): | Temp (°C): |  | Humidity (%):
CONTRAST
|  |  | -80 | -70 | -60 | -50 | -40 | -30 | -20 | -10 | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80
|  | -80 | [8 empty] | #DIV/0!
|  | -70 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | -60 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | -50 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | -40 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | -30 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | -20 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | -10 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 10 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 20 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 30 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 40 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 50 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 60 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 70 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 80 | [8 empty] | #DIV/0!

## EBL Power PWM Template
EBL POWER
[5 empty] | Display Manufacturer: |  | Active Area (Wmm x Hmm): |  | Resolution (W x H): |  | Col Depth: | Pxl Clk (MHz): | FOS Technology: |  |  | Test System: |  |  | Signal Source: |  |  | Warmup Time (mins): |  | Test Owner: |  |  | Report Rev:
[5 empty] | Serial Number: |  |  |  |  | Mfgr's Part Number: |  |  | Inverter Manufacturer: |  |  | Instr #1: |  | Instr #2: |  | Instr #3: |  | Working Distance (cm) |  | Owner Email:
Mobile PC Extended Battery Life Working Group
[5 empty] | Test Date: |  |  |  |  | Mfgr's EDID Rev: |  |  | Inverter Model & Revision: |  |  | Instr #1 Cal Date: |  | Instr #2 Cal Date: |  | Instr #3 Cal Date: |  | Ambient Light (Lux): |  | Temp (°C): |  | Humidity (%):
| Index | Bakclight | Warmup (min.) | Temp (°C) | Pixels |  |  | TFT (Data) |  |  | Backlight Power |  |  | Total |  | Luminance of White (cd/m^2) | [8 empty] | Lum (cd/m^2) | EBL Power
|  | Level %1 |  |  | Red | Green | Blue | V | I (mA) | P (W) | V | I (mA) | P (W) | P (W) |  | Pt 1 | Pt 2 | Pt 3 | Pt 4 | Pt 5 | Min | Avg | Max
16 LEVELS | 1 | 6.25 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0 |  | 60nits | #VALUE!
| 2 | 12.5 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0 |  | Note: This B/L value for 60nits is computed via 16 level data.
| 3 | 18.75 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 4 | 25 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 5 | 31.25 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 6 | 37.5 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 7 | 43.75 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 8 | 50 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 9 | 56.25 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 10 | 62.5 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 11 | 68.75 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 12 | 75 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 13 | 81.25 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 14 | 87.5 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 15 | 93.75 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
| 16 | 100 |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | [6 empty] | 0 | #DIV/0! | 0
Note 1 Backlight level report is designed to characterize the Microsoft requirement of 16 levels of illumination divided into 16 equally spaced increments.
| Warmup (min.) | Backlight Level |  | Temp (°C) | PIXELS |  |  | TFT (Data) |  |  | Backlight Power |  |  | Total | [10 empty] | EBL
[5 empty] | RED | GREEN | BLUE | V | I (mA) | P (W) | V | I (mA) | P (W) | P (W)
EBL |  | 60 cd/m^2 |  |  | 32x36 Checkerboard |  |  |  |  | 0 |  |  | 0 | 0 | Checkerboard | [9 empty] | 0
|  | 100% |  |  | 32x36 Checkerboard |  |  |  |  | 0 |  |  | 0 | 0 | Checkerboard
|  | 100% |  |  | 100% | 100% | 100% |  |  | 0 |  |  | 0 | 0 | White | [9 empty] | Note: this is the EBL level reported
|  | 100% |  |  | 100% | 0% | 0% |  |  | 0 |  |  | 0 | 0 | Red
|  | 100% |  |  | 0% | 100% | 0% |  |  | 0 |  |  | 0 | 0 | Green
|  | 100% |  |  | 0% | 0% | 100% |  |  | 0 |  |  | 0 | 0 | Blue
|  | 100% |  |  | 0% | 0% | 0% |  |  | 0 |  |  | 0 | 0 | Black
Note: Only 60 nit checkerboard is required to publish EBL report. Additional patterns are used for system designers.
|  | NITS to PWM LEVEL | [13 empty] | NITS to WATTS
Note: This worksheet contains macros that are required. Please adjust your security settings to permit macros on this worksheet.

## EBL Power PWM with sample data
EBL POWER
[5 empty] | Display Manufacturer: |  | Active Area (Wmm x Hmm): |  | Resolution (W x H): |  | Col Depth: | Pxl Clk (MHz): | FOS Technology: |  |  | Test System: |  |  | Signal Source: |  |  | Warmup Time (mins): |  | Test Owner: |  |  | Report Rev:
[5 empty] | XYZ Company |  | 261 x 163 |  | 1280 x 800 |  | 6 | 83.5 | Anti Glare |  |  | FPM-520 |  |  | Westar T-Drive |  |  | 0 |  | First Name, Last Name |  |  | 2008.06.25
[5 empty] | Serial Number: |  |  |  |  | Mfgr's Part Number: |  |  | Inverter Manufacturer: |  |  | Instr #1: |  | Instr #2: |  | Instr #3: |  | Working Distance (cm) |  | Owner Email:
Mobile PC Extended Battery Life Working Group |  |  |  |  | XYZ1234 |  |  |  |  | 121XYZ |  |  | n/a |  |  | PR880 @ 0.25° |  |  |  | TRD-100 |  | 117.89
[5 empty] | Test Date: |  |  |  |  | Mfgr's EDID Rev: |  |  | Inverter Model & Revision: |  |  | Instr #1 Cal Date: |  | Instr #2 Cal Date: |  | Instr #3 Cal Date: |  | Ambient Light (Lux): |  | Temp (°C): |  | Humidity (%):
[5 empty] | 2008-07-17 18:03 |  |  |  |  | X12 |  |  | n/a |  |  | 2006-12-07 |  |  |  | (n/a) |  | 0 |  | 22.7 |  | 37
| Index | Bakclight | Warmup (min.) | Temp (°C) | Pixels |  |  | TFT (Data) |  |  | Backlight Power |  |  | Total |  | Luminance of White (cd/m^2) | [8 empty] | Lum (cd/m^2) | EBL Power
|  | Level %1 |  |  | Red | Green | Blue | V | I (mA) | P (W) | V | I (mA) | P (W) | P (W) |  | Pt 1 | Pt 2 | Pt 3 | Pt 4 | Pt 5 | Min | Avg | Max
16 LEVELS | 1 | 6.25 | 10 | 22.9 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9902 | 4.88 | 0.058512 | 0.84617 |  | 19.86 | 20.18 | 20.86 | 20.13 | 20.66 | 19.86 | 20.338 | 20.86 |  | 60nits | #VALUE!
| 2 | 12.5 | 10 | 22.8 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9902 | 19.52 | 0.23405 | 1.0217 |  | 40.46 | 40.63 | 42.12 | 40.76 | 41.69 | 40.46 | 41.132 | 42.12 |  | Note: This B/L value for 60nits is computed via 16 level data.
| 3 | 18.75 | 10 | 22.9 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9902 | 29.28 | 0.35107 | 1.1387 |  | 60.67 | 61.3 | 62.9 | 61.05 | 62.33 | 60.67 | 61.65 | 62.9
| 4 | 25 | 10 | 22.8 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9755 | 43.92 | 0.52596 | 1.3136 |  | 80.57 | 81.63 | 83.87 | 81 | 82.63 | 80.57 | 81.94 | 83.87
| 5 | 31.25 | 10 | 22.8 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9902 | 53.68 | 0.64363 | 1.4313 |  | 101 | 102 | 104.6 | 101.1 | 103.8 | 101 | 102.5 | 104.6
| 6 | 37.5 | 10 | 22.7 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9902 | 68.32 | 0.81917 | 1.6068 |  | 120.7 | 121.9 | 124.5 | 121.4 | 123.9 | 120.7 | 122.48 | 124.5
| 7 | 43.75 | 10 | 22.7 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 12.0048 | 82.96 | 0.99592 | 1.7836 |  | 139.5 | 141.7 | 145.6 | 141.3 | 144.3 | 139.5 | 142.48 | 145.6
| 8 | 50 | 10 | 22.8 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 12.0194 | 92.72 | 1.1144 | 1.9021 |  | 159.6 | 161.3 | 165.3 | 160.8 | 163.7 | 159.6 | 162.14 | 165.3
| 9 | 56.25 | 10 | 22.9 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 12.0048 | 107.36 | 1.2888 | 2.0765 |  | 178.9 | 180.7 | 185 | 180.2 | 184.3 | 178.9 | 181.82 | 185
| 10 | 62.5 | 10 | 22.9 | 100% | 100% | 100% | 3.2794 | 239.12 | 0.78416 | 11.9902 | 122 | 1.4628 | 2.247 |  | 197.3 | 200.4 | 204.5 | 199.8 | 204 | 197.3 | 201.2 | 204.5
| 11 | 68.75 | 10 | 22.9 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9902 | 131.76 | 1.5798 | 2.3675 |  | 217.1 | 219.7 | 224.9 | 218.9 | 223.5 | 217.1 | 220.82 | 224.9
| 12 | 75 | 10 | 22.8 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9609 | 146.4 | 1.7511 | 2.5387 |  | 235.7 | 238.3 | 244.5 | 238.7 | 242.7 | 235.7 | 239.98 | 244.5
| 13 | 81.25 | 10 | 22.8 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9902 | 156.16 | 1.8724 | 2.66 |  | 254.6 | 257.9 | 264 | 257.5 | 262.2 | 254.6 | 259.24 | 264
| 14 | 87.5 | 10 | 22.8 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 12.0048 | 170.8 | 2.0504 | 2.8381 |  | 273.4 | 276.8 | 283.1 | 276.7 | 281.8 | 273.4 | 278.36 | 283.1
| 15 | 93.75 | 10 | 22.8 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9902 | 185.44 | 2.2235 | 3.0111 |  | 292.3 | 295.6 | 302.8 | 295.6 | 301.2 | 292.3 | 297.5 | 302.8
| 16 | 100 | 10 | 22.8 | 100% | 100% | 100% | 3.2794 | 239.12 | 0.78416 | 11.9902 | 195.2 | 2.3405 | 3.1246 |  | 310.6 | 314 | 321.2 | 314.5 | 320.1 | 310.6 | 316.08 | 321.2
Note 1 Backlight level report is designed to characterize the Microsoft requirement of 16 levels of illumination divided into 16 equally spaced increments.
| Warmup (min.) | Backlight Level |  | Temp (°C) | PIXELS |  |  | TFT (Data) |  |  | Backlight Power |  |  | Total | [10 empty] | EBL
[5 empty] | RED | GREEN | BLUE | V | I (mA) | P (W) | V | I (mA) | P (W) | P (W)
EBL | 10.1667 | 60 cd/m^2 |  | 22.8 | 32x36 Checkerboard |  |  | 3.294 | 302.56 | 0.99663 | 11.9902 | 29.28 | 0.35107 | 1.3477 | Checkerboard | [9 empty] | 1.3477
| 10.1667 | 100% |  | 22.8 | 32x36 Checkerboard |  |  | 3.294 | 302.56 | 0.99663 | 11.9902 | 195.2 | 2.3405 | 3.3371 | Checkerboard
| 0.16667 | 100% |  | 22.8 | 100% | 100% | 100% | 3.294 | 239.12 | 0.78766 | 11.9902 | 195.2 | 2.3405 | 3.1281 | White | [9 empty] | Note: this is the EBL level reported
| 0.16667 | 100% |  | 22.8 | 100% | 0% | 0% | 3.294 | 331.84 | 1.0931 | 11.9755 | 195.2 | 2.3376 | 3.4307 | Red
| 0.16667 | 100% |  | 22.7 | 0% | 100% | 0% | 3.294 | 331.84 | 1.0931 | 11.9755 | 195.2 | 2.3376 | 3.4307 | Green
| 0.16667 | 100% |  | 22.8 | 0% | 0% | 100% | 3.294 | 331.84 | 1.0931 | 11.9755 | 195.2 | 2.3376 | 3.4307 | Blue
| 0.16667 | 100% |  | 22.8 | 0% | 0% | 0% | 3.294 | 356.24 | 1.1735 | 11.9755 | 195.2 | 2.3376 | 3.5111 | Black
Note: Only 60 nit checkerboard is required to publish EBL report. Additional patterns are used for system designers.
|  | NITS to PWM LEVEL | [13 empty] | NITS to WATTS
Note: This worksheet contains macros that are required. Please adjust your security settings to permit macros on this worksheet.